Version date 08/10/01

IP PROBE Footprints

# Ground pin 				Signal pin

## All footprints based on 0.1” grid except where noted

Order codes for single-ended probes: IP-xx/pp (where xx is the impedance; pp is the pitch).  If no pitch is specified assume 0.14”.  For differential probes use part-number ACCxxx.

SINGLE ENDED PROBES

IP-xx /0.04”

0.04”

Pins fit into grooves on board

Fit part number PRB119

IP-xx /0.05”

0.05”

Pins fit into grooves on board

IP-xx /0.075”

0.075”

Pins fit into grooves on board

Version date 08/10/01

IP-xx /0.1”

0.1” approx.

Fit pins directly opposite eachother

IP-xx/0.14”

0.14”

.

IP-xx /0.2”

0.2”

ACC287 (IP-50 /0.14”, 2 pin ground)

0.1”

0.2”

Version date 08/10/01

DIFFERENTIAL PROBES

ACC270  (IPD-100/Standard)

0.4”

0.2”

ACC271 (IPD-100 /0.1” Grid)

0.3”

0.1”

ACC272 (IPD-100 /0.1”, 3pin)

0.1”

ACC273 (IPD-100 /0.2”, 3pin)

0.1”

0.2”

Version date 08/10/01

ACC274 (IPD-100 /0.1”, 4pin square)

0.1”

ACC275 (IPD-100 /0.2”, 4pin)

0.2”

ACC276 (IPD-100/0.4”, 4 pin)

0.4”

0.2”

Note that the signal pins are 0.4”

ACC277 (IPD-100 /3 pin “L”)

0.1”

ACC281 (IPD-100 /0.2” square)

0.2”

0.2”

Version date 08/10/01

ACC288 (IPD-100 /0.05”)

0.05”

0.

0.071”

ACC289 (IPD-100 /0.1”x 0.14”)

0.14”

0.1”

ACC291 (IPD-100 /0.1”x 0.2”)

0.2”

0.1”

ACC300 (IPD-100 /0.14”x 0.1”)

0.1”

0.14”